Biotreatment Soil Media

Specification Verification Checklist

This checklist is intended to supply municipal staff, contractors, designers and others with an easy-to-read summary of the information needed to verify that the biotreatment soil media being provided by the soil media supplier meets the soil media specification in the Bay Area Stormwater Management Agencies Association (BASMAA) “Specification of Soils for Biotreatment or Bioretention Facilities” dated April 18, 2016. The checklist should be provided to the soil media supplier by the municipality or contractor before the soil media has been ordered to allow for sufficient time to compile the information and time to review the completed checklist before delivery of the soil media to the job site.

Use of this checklist is not required by the MRP and is intended only for assistance in reviewing submittals. Additionally or alternatively, the one page Supplier Certification Statement, developed by the stormwater programs listed below, can be requested from the Supplier to guarantee that the product meets the specification.

The Certification Statement, a list of soil media suppliers, the BASMAA specification and other materials are available at the following websites:

- Santa Clara Valley Urban Runoff Pollution Prevention Program:

www.scvurppp.org/newdev/

- San Mateo Countywide Water Pollution Prevention Program:

www.flowstobay.org/preventing-stormwater-pollution/with-new-redevelopment/c-3-regulated-projects/

- Alameda Countywide Clean Water Program:

https://cleanwaterprogram.org/c3-popular-files/

If a municipality chooses to use the checklist, the following five items are required to be submitted by the soil media Supplier to the requesting municipality or contractor:

- Sample of the Biotreatment Soil Media

1-gallon bag of soil media.

- Attachment A – Supplier Analysis of the Biotreatment Soil Media

To be completed by the soil media supplier staff providing the soil media.

- Attachment B – Lab Analysis of Sand Component of the Biotreatment Soil Media

To be completed by the laboratory staff conducting the analysis of the sand.

- Attachment C – Lab Analysis of Compost Component of the Biotreatment Soil Media

To be completed by the laboratory staff conducting the analysis of the compost.  Compost analysis of a sample collected (in accordance with the STA sample collection protocol) shall be completed within the last 120 days.  Analysis must be completed by a laboratory enrolled in the US Composting Council’s Compost Analysis Proficiency program, and shall use the Test Methods for the Evaluation of Composting and Compost (TMECC).

- Attachment D – Supplier Analysis of Compost Component of the Biotreatment Soil Media

To be completed by the compost supplier staff providing the compost component of the soil media.

Attachment A

Supplier Analysis of Biotreatment Soil Media

The table below shall be completed by the biotreatment soil media supplier staff.

| Date: (All lab tests must be done within the last 120 days) |  |  | Name of Person Filling Out This Form: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title: |  |  | Signature: |  |  |  |
| Phone: |  |  | Email: |  |  |  |
| Company Name: |  |  | City: |  |  |  |
| Street Address: |  |  | Zip: |  |  |  |
| I certify that the provided biotreatment soil media meets the requirements of the BASMAA 2016 specification. |  |  |  | Yes (Pass) |  |  |
|  |  |  |  | No (Fail) |  |  |
| Describe the equipment and methods used to mix the compost and sand components of the biotreatment soil media. |  |  |  |  |  |  |
| Material | Standard Percent (by volume) |  | Actual Media % |  | Pass | Fail |
| Sand | 60% - 70% |  |  |  |  |  |
| Compost | 30% - 40% |  |  |  |  |  |
| Does the soil media have a permeability of at least 5 inches per hour?1 |  |  |  |  | Yes (Pass) |  |
|  |  |  |  |  | No (Fail) |  |
| Will the soil media support vigorous plant growth? |  |  |  |  | Yes (Pass) |  |
|  |  |  |  |  | No (Fail) |  |

Attachment A

Page 1 of 1

1Soil media permeability testing is only required for alternative biotreatment soil media.  Soil permeability tests must be conducted on a minimum of two samples using constant head permeability in accordance with ASTM D2434 with a 6-inch mold and vacuum saturation.

Attachment A.1

Page 1 of 1

Soil Analysis Form – Attachment A.1

Page 1 of 1

Attachment B

Lab Analysis of Sand Component of Biotreatment Soil Media

The table below shall be completed by the laboratory staff conducting the sand analysis.

| Name of Person Filling Out This Form: |  | Signature: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title: |  | Date: |  |  |  |  |
| Phone: |  | Email: |  |  |  |  |
| Company: |  | City: |  |  |  |  |
| Street Address: |  | Zip: |  |  |  |  |
| Qualifications & relevant certifications (ASTM, CTM or approved equivalent certifications): |  |  |  |  |  |  |
| Is sand free of wood, waste, coating (such as clay, stone dust, carbonate, etc.), or any other deleterious material? |  |  |  | Yes (Pass) |  |  |
|  |  |  |  | No (Fail) |  |  |
| Is all aggregate passing the No. 200 sieve non-plastic? |  |  |  | Yes (Pass) |  |  |
|  |  |  |  | No (Fail) |  |  |
| Particle size analysis shall be conducted in accordance with ASTM D 422 (Standard Test Method for Particle Size Analysis of Soils) or CTM 202. Other equivalent methods acceptable only if approved. |  |  |  |  |  |  |
| Sieve Size | Standard Percent Passing (% by weight) |  | Testing Results (%) |  | Pass | Fail |
| 3/8 inch | 100% |  |  |  |  |  |
| No. 4 | 90% - 100% |  |  |  |  |  |
| No. 8 | 70% - 100% |  |  |  |  |  |
| No. 16 | 40% - 95% |  |  |  |  |  |
| No. 30 | 15% - 70% |  |  |  |  |  |
| No. 40 | 5% - 55% |  |  |  |  |  |
| No. 100 | 0% - 15% |  |  |  |  |  |
| No. 200 | 0% - 5% |  |  |  |  |  |

Attachment B

Page 1 of 1

Soil Analysis Form – Attachment B

Page 1 of 1

Attachment C

Lab Analysis of Compost Component of Biotreatment Soil Media

The table below shall be completed by the laboratory staff conducting the compost analysis.

| Name of Person Filling Out This Form: |  | Signature: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title: |  | Date: |  |  |  |  |
| Phone: |  | Email: |  |  |  |  |
| Company: |  | City: |  |  |  |  |
| Street Address: |  | Zip: |  |  |  |  |
| Qualifications & relevant certifications: (STA, ASTM or approved equivalent certification) |  |  |  |  |  |  |
| Specification | Standard |  | Testing Results |  | Pass | Fail |
| Organic Matter Content | 35% - 75% (by dry weight) |  |  | % |  |  |
| Carbon-to-Nitrogen Ratio | 15:1 to 25:1 (C:N) |  |  | C:N |  |  |
| Salinity | < 6.0 mm hos/cm |  |  | mm hos/cm |  |  |
| pH | 6.5 - 8 |  |  | pH |  |  |
| Bulk Density | 500 – 1100 dry lbs / yd3 |  |  | dry lbs / yd3 |  |  |
| Moisture Content | 30%-55% (of dry solids) |  |  | % |  |  |
| Percent inert ingredients (incl. plastic, glass, paper) | < 1% (by weight or volume) |  |  | % |  |  |
| Provide the results of at least one of the following analyses to indicate compost stability: |  |  |  |  |  |  |
| Specification | Standard |  | Testing Results |  | Pass | Fail |
| Oxygen Test | < 1.3 02 /unit TS/hr |  |  | 02 /unit TS/hr |  |  |
| Specific Oxygen Test | < 1.5 02/unit BVS/hr |  |  | 02/unit BVS/hr |  |  |
| Respiration Test | < 8mg CO2-C/g VS/day |  |  | mgCO2-C/g VS/day |  |  |
| Dewar test | < 20 ˚C Temp. rise e. |  |  | ˚C Temp. rise e. |  |  |
| Solvita® Index value | > 5 Index value |  |  | Index value |  |  |

Attachment C

Page 1 of 2

| Provide the results of at least one of the following analyses to indicate compost toxicity: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specification |  | Standard | Testing Results |  |  |  | Pass | Fail |
| Ratio of NH4- : NO3-N |  | NH4- : NO3-N < 3 |  |  | NH4- : NO3-N |  |  |  |
| Ammonium |  | < 500 ppm, dry basis |  |  | ppm, dry basis |  |  |  |
| Seed Germination |  | > 80% of control |  |  | % of control |  |  |  |
| Plant Trials |  | > 80% of control |  |  | % of control |  |  |  |
| Solvita® Index value |  | > 5 Index value |  |  | Index value |  |  |  |
| Provide the analysis of the nutrient content of the compost, including the following: |  |  |  |  |  |  |  |  |
| Specification |  | Standard | Testing Results |  |  |  | Pass | Fail |
| B (total, in ppm) |  | < 80 ppm |  |  | ppm |  |  |  |
| B (soluble, in ppm) |  | < 2.5 ppm |  |  | ppm |  |  |  |
| Nitrogen (N)(total %) |  | > 0.9% preferred. |  |  | % |  |  |  |
| Phosphorus (as P2O5) |  | [not specified] |  |  | % |  |  |  |
| Potassium (as K2O) |  | [not specified] |  |  | % |  |  |  |
| Calcium (Ca) |  | [not specified] |  |  | % |  |  |  |
| Sodium (Na) |  | [not specified] |  |  | % |  |  |  |
| Magnesium (Mg) |  | [not specified] |  |  | % |  |  |  |
| Sulfur (S) |  | [not specified] |  |  | ppm |  |  |  |
| Provide the results of at least one of the following select pathogens: |  |  |  |  |  |  |  |  |
| Specification |  | Standard | Testing Results |  |  |  | Pass | Fail |
| Salmonella |  | < 3 MPN/4 grams TS |  |  | MPN/4 grams TS |  |  |  |
| Coliform Bacteria |  | < 10,000 MPN/gram |  |  | MPN/gram |  |  |  |
| Does the product meet US EPA, 40CFR 503 regulations regarding trace contaminants metals (Lead, Mercury, etc.)? |  |  |  |  |  | Yes (Pass) |  |  |
|  |  |  |  |  |  | No (Fail) |  |  |
| Particle size analysis shall be conducted in accordance with ASTM D 422 (Standard Test Method for Particle Size Analysis of Soils)-washing not required. Equivalent methods acceptable if approved. |  |  |  |  |  |  |  |  |
| Sieve Size | Standard Percent Passing (by weight) |  |  | Testing Results (%) |  |  | Pass | Fail |
| 1 inch | 99% - 100% |  |  |  |  |  |  |  |
| ½ inch | 90% - 100% |  |  |  |  |  |  |  |
| ¼ inch | 40% - 90% |  |  |  |  |  |  |  |
| No. 200 | 2% - 10% |  |  |  |  |  |  |  |

Attachment C

Page 2 of 2

Attachment D

Supplier Analysis of Compost Component

of Biotreatment Soil Media

The table below shall be completed by the compost supplier providing the compost for the media.

| Name of Company: | Date of Delivery: |  |  |
| --- | --- | --- | --- |
| Qualifications & relevant certifications: (STA, ASTM or approved equivalent certifications) | Date of the Compost Lab Analysis Report: (Must be dated within 120 days prior to delivery) |  |  |
| Name of Person Filling Out This Form: | Date: |  |  |
| Signature: | Street Address: |  |  |
| Email address: | City: |  |  |
| Phone: | Zip: |  |  |
| The feedstock materials have been specified and include only the following: Landscape/yard trimmings, grass clippings, food scraps, or agricultural crop residues? |  |  | Yes (Pass) |
|  |  |  | No (Fail) |
| The compost has a dark brown color and a soil-like odor, does not exhibit a sour or putrid smell, does not contain recognizable grass or leaves, and is not hot (120˚F) upon delivery or rewetting? |  |  | Yes (Pass) |
|  |  |  | No (Fail) |
| The compost has gone through the process to further reduce pathogens (PFRP)? For example, turned windrows must reach a minimum temperature of 55˚C for 15 days with at least 5 turnings during that period. |  | Yes (Pass) |  |
|  |  | No (Fail) |  |

Attachment D

Page 1 of 1

Attachment D

Page 1 of 1

Soil Analysis Form – Attachment C

Page 3 of 3